## Demand Curve
Metric | Value
Peak demand recorded (May 2024) | 270.73 GW
Projected peak, FY27 (20th Electric Power Survey) | 296 GW
National Electricity Plan target, FY32 | 388 GW
Revised ministerial target, FY32 | 458 GW
Installed capacity (H1 FY25) | About 453 GW
Renewable target, 2030 | 500 GW
New cooling demand by 2035 | 130 GW
Data center demand by 2030 | About 12 GW
Per 100 MW data center: solar / wind / BESS required | 250 MW / 150 MW / 450 MWh
Inter-regional transfer capacity, current to target | 119 GW to 168 GW

## Capex and Gap
Item | Value
Transmission capex through FY32 (NEP) | Rs 9.15 lakh crore
Inter-state share | About Rs 6.6 lakh crore
New lines, 220 kV and above | 1,91,474 ckm
Transformation capacity added | 1,274 GVA
Required annual run-rate (FY26-31) | Rs 81,000 crore
Actual three-year average | Rs 45,000 to 48,000 crore
Projects under implementation (Jan 2026) | 82, worth Rs 2.22 lakh crore
On schedule | 35 of 82
Average delay on late projects | About 12 months
Distribution capex, RDSS (FY26-30) | Rs 3.5 to 4.5 trillion
Smart metering book (Adani Energy Solutions) | Rs 73,500 crore
BRPL consumers served | 30 lakh
BRPL AT&C losses | 6.13 %
BRPL operational battery storage | 40 MWh
Grid-forming unit, targeted April 2027 | 12.5 MW / 25 MWh

## Optimize and Bend
Technology / Project | Economics / Status
Dynamic Line Rating | 20 to 40 % capacity unlock, 5 to 10x cheaper than new lines, deployed in months
First 400 kV DLR line (Power Grid, Sep 2025) | Madurai to Tuticorin, commissioned
HTLS conductors | 2x ampacity, about 25 % lower losses, about 4 year payback, 1.5 to 3.5x price premium
HTLS reconductoring reach | Hundreds of projects, 24 states, 30+ utilities
Conductor industry projection, FY30 | Rs 230 to 250 billion, 5 to 6 % CAGR
BESS target, FY27 | 8.68 GW / 34 GWh
BESS target, FY32 | 47.24 GW / 236 GWh
BESS investment estimate | About Rs 3.49 lakh crore
Pumped storage target, FY32 | 26.69 GW / 175 GWh
ACC battery PLI | Rs 18,100 crore for 50 GWh
Operational BESS today | About 3 GW / 9 GWh
BESS pipeline | About 51.6 GW / 164 GWh
NTPC Green, Kerala (NHPC tender) | 80 MW / 320 MWh
Adani Green, Khavda | 2,500 MWh BESS with 1,560 MWp solar
IndiGrid, Delhi (first regulated utility BESS) | 20 MW / 40 MWh, commissioned April 2026
Engie, Gujarat (GUVNL tender) | 280 MW / 560 MWh
JSW Energy + LG Energy Solution | 40 GWh target by 2030
ReNew, SECI FDRE-VII | 600 MW, 2,400 MWh per day peak
Reliance NU Energies, Morena | 220 MW solar plus BESS, COD Dec 2027

## MF Conviction Ladder
Stock | Schemes Holding | MF Value (Rs Cr)
NTPC | 475 | 55202
Power Grid Corporation | 304 | 33829
Tata Power | 211 | 8400
Adani Energy Solutions | 183 | 13401
Adani Power | 178 | 9645
JSW Energy | 177 | 7205
NHPC | 144 | 5458
Torrent Power | 144 | 11436
Adani Green Energy | 132 | 2015
NTPC Green Energy | 100 | 2906

## Allocation Frame
Weight | Exposure | Names
25 % | Transmission backbone | Power Grid, Adani Energy Solutions
20 % | Integrated utilities with storage | Tata Power, NTPC, NTPC Green
15 % | Renewables with BESS | Adani Green, JSW Energy
15 % | Conductor and HTLS manufacturing | Sterlite Electric, Apar, KEC, Diamond Power
10 % | Battery manufacturing | Exide, Amara Raja, Waaree, HBL Power
10 % | Grid technology and EPC | Siemens Energy, ABB, Hitachi Energy, GE T&D
5 % | Distribution proxies | Torrent Power, CESC

## Funds on Theme
Fund | AUM
Nippon India Power & Infra | Rs 8,137 Cr
DSP Natural Resources & New Energy | Rs 2,574 Cr
Tata Resources & Energy | Rs 1,409 Cr